## Sheet1
Work Element Description | Unit | Man-hours per Unit
21 13 16.50 Dry-pipe Sprinkler System Components
(0010) Alarm valve, 2 1/2-inch diameter | Each | 7.0930
(0020) Alarm, water, motor, with gong | Each | 2.6600
(0030) Fire alarm horn, electric | Each | 0.4100
(0040) Air compressor, automatic, 200 gallon, sprinkler system 1/3 horsepower | Each | 8.1850
(0050) Deluge system monitoring panel, 120 volt | Each | 0.5910
(0060) Firecycle controls, with panel, batteries, valves, and switches | Each | 42.5600
(0070) Firecycle package, check and flow control valves, trim 4-inch diameter | Each | 21.2800
(0080) Heat detector | Each | 0.6650
(0090) Thermostatic release | Each | 0.5320
Pipe, black steel, threaded, schedule 40
(0100) 4-inch diameter | LF | 0.5750
(0110) 2 1/2-inch diameter | LF | 0.4250
(0120) 2-inch diameter | LF | 0.3320
(0130) 1 1/4-inch diameter | LF | 0.2390
(0140) 1-inch diameter | LF | 0.2010
Pipe, tee, 150 pound, black malleable
(0150) 4-inch diameter | Each | 5.3200
(0160) 2 1/2-inch diameter | Each | 2.3650
(0170) 2-inch diameter | Each | 1.9350
(0180) 1 1/4-inch diameter | Each | 1.5200
(0190) 1-inch diameter | Each | 1.3300
(0200) Pipe, elbow, 150 pound, black malleable, 1-inch diameter | Each | 0.8180
(0210) Sprinkler head, 135 to 286 degrees, 1/2-inch diameter | Each | 0.6650
(0220) Sprinkler head, dry pendent, 1-inch diameter | Each | 0.7590
(0230) Valve, angle, bronze, thread end, 2-inch diameter | Each | 0.9670
(0240) Valve gate, bronze, thread end, 1-inch diameter | Each | 0.5600
(0250) Valve, gate, iron body, flanged, 125 pound, 4-inch diameter | Each | 7.0930
(0260) Valve, swing check, with ball drip, flanged, 4-inch diameter | Each | 7.0930
(0270) Valve, swing check, bronze, thread end, 2 1/2-inch diameter | Each | 1.4200
(0280) Valve, dry pipe, with trim and gauges, 4-inch diameter | Each | 21.2800
(0290) Valve, deluge, with trim and gauges, 4-inch diameter | Each | 21.2800
Note: Refer to Division 22 11 13 for further information on facility water distribution piping.