## Sheet1
Work Element Description 23 34 16.10 Centrifugal HVAC Fans | Unit | Man-hours per Unit
Airfoil, motor and drive complete
(0110) 1,000 CFM | Each | 12.0000
(0120) 2,000 CFM | Each | 15.0000
(0130) 4,000 CFM | Each | 16.6665
(0140) 8,000 CFM | Each | 21.4290
(0150) 12,000 CFM | Each | 30.0000
Roof exhaust, direct drive
(0410) 320 CFM | Each | 4.2855
(0420) 600 CFM | Each | 4.9995
(0430) 815 CFM | Each | 6.0000
(0440) 1,450 CFM | Each | 7.1430
(0450) 2,050 CFM | Each | 7.5000
Install Sheet Metal Duct (round) See section 23 31 13.00
23 34 23.10 HVAC Power Circulators
Install circulators
(0110) Propeller exhaust, wall shutter, direct drive, 375 CFM | Each | 3.0000
(0120) Propeller exhaust, wall shutter, direct drive, 730 CFM | Each | 3.3330
(0130) Propeller exhaust, wall shutter, direct drive, 1,000 CFM | Each | 3.7500
(0140) Propeller exhaust, wall shutter, direct drive, 1,890 CFM | Each | 4.2855
(0150) Propeller exhaust, wall shutter, direct drive, 3,275 CFM | Each | 4.9995
(0160) Propeller exhaust, wall shutter, direct drive, 4,720 CFM | Each | 6.0000
Minimum suggested crew size: one builder, one steelworker, one electrician
23 38 13.10 Hood and Ventilation Equipment
(0030) Vent hood, wall canopy with fire protection | LF | 1.9995
(0040) Vent hood, wall canopy without fire protection | LF | 1.8000
(0050) Vent hood, island canopy with fire protection | LF | 2.5710
(0060) Vent hood, island canopy without fire protection | LF | 2.2500
(0090) Range hood and carbon dioxide system | Each | 8.0000
Minimum suggested crew size: one builder
Legend: CFM = cubic feet per minute