## Sheet1
Work Element Description | Unit | Man-hours per Unit
26 05 19.00 Low Voltage Electrical Power Conductors and Cables
Install Service Entrance, Four- Conductor
(0010) 60 ampere | Each | 11.2
(0020) 100 ampere | Each | 13.8
(0030) 200 ampere | Each | 15.2
(0040) 400 ampere | Each | 19.2
Install Rigid Steel Conduit
(0050) 1/2 to 3/4 inch | LF | 0.16
(0060) 1 to 1 1/2 inches | LF | 0.20
(0070) 2 to 3 inches | LF | 0.3040
(0080) 3 1/2 to 4 inches | LF | 0.3520
Install Thin Wall and Flexible Conduit
(0090) 1/2 inch to 3/4 inch | LF | 0.072
(0100) 1 to 1 1/2 inches | LF | 0.096
(0110) 2 to 2 1/2 inches | LF | 0.1360
(0120) 3 to 4 inches | LF | 0.1920
Grounding and Bonding for Electrical Systems
(0130) Install 8-foot ground rod and ground wire | Each | 2.4
(0140) Install 10-foot ground rod and ground wire | Each | 3.0
Install Type non-metallic cable
(0150) AWG # 10/3 with ground and smaller | LF | 0.0260
(0160) AWG # 8/2 with ground and larger | LF | 0.0560
Install Boxes for non-metallic cable
(0170) Boxes for non-metallic cable | Each | 0.032
Install Pull Boxes
(0180) 12 by 12 by 6 inches, National Electrical Manufacturers Association (NEMA) Type 1 | Each | 2.4
(0190) 16 by 20 by 8 inches, NEMA Type 1 | Each | 3.2
(0200) 24 by 36 by 8 inches, NEMA Type 1 | Each | 4.8
(0210) 6 by 6 by 6 inches, NEMA Type 3R and 4 | Each | 2.4
(0220) 10 by 6 by 6 inches, NEMA Type 3R and 4 | Each | 4.8
(0230) 16 by 16 by 6 inches, NEMA Type 3R and 4 | Each | 7.2
(0240) 24 by 18 by 8 inches, NEMA Type 3R and 4 | Each | 12