## Sheet1
Division 22—Plumbing
Number | Description | Number | Description
22 10 00 | Plumbing Piping and Pumps | 22 15 00 | Compressed-Air Systems
| Air chambers | 22 30 00 | Plumbing Equipment
| Concrete encasement |  | Water softeners
| Escutcheons |  | Filtration equipment
| Expansion joints |  | Water heaters
| Excavation for piping |  | Electric
| Fittings |  | Fuel-fired
| Hangers |  | Water heat exchangers
| Insulation | 22 40 00 | Plumbing Fixtures
| Shock absorbers |  | Bathtubs
22 12 00 | Facility Potable-Water Storage Tanks |  | Drinking fountains
| Elevated/roof-mounted |  | Hose bibs
| Ground-mounted |  | Lavatories
| Indoor storage tank |  | Showers
| Pressure |  | Sinks
| Nonpressure |  | Bar
22 13 00 | Facility Sanitary Sewerage |  | Janitor
| Facility septic tanks |  | Kitchen
| Interceptors |  | Laundry
| Pumps |  | Toilets
| Sanitary waste piping specialties |  | Urinals
| Air-admittance valves |  | Wash centers/fountains
| Fats, oils, and grease disposal systems |  | Water closets
| Grease removal |  | Water coolers
| Sanitary drains | 22 50 00 | Pool and Fountain Plumbing Systems
| Separators |  | Piping
| Waste and vent piping |  | Pumps
22 14 00 | Facility Storm Drainage |  | Water treatment equipment
| Piping |  | Controls
| Leaders and drains | 22 60 00 | Gas and Vacuum Systems for Laboratory and Healthcare Facilities
Sump pumps