## Sheet1
Division 23—Heating, Ventilating and Air Conditioning
Number | Description | Number | Description
23 10 00 | Facility Fuel System | 23 60 00 | Central Cooling Equipment
| Fuel piping |  | Cooling towers
| Fuel pumps |  | Packaged compressor and condenser units
| Fuel storage tanks |  | Packaged water chillers
| Underground |  | Refrigerant compressors
| Above ground |  | Refrigerant condensers
23 20 00 | HVAC Piping and Pumps | 23 70 00 | Central HVAC Equipment
| HVAC water treatment |  | Air-to-air energy recovery equipment
| Hydronic piping and pumps |  | Custom-packaged outdoor HVAC equipment
| Internal-combustion engine piping |  | Evaporative air-cooling equipment
| Refrigerant piping |  | Indoor central-station air-handling units
| Steam and condensate piping and pumps |  | Packaged outdoor HVAC equipment
23 30 00 | HVAC Air Distribution |  | Thermal storage (hot and cold)
| Air duct accessories (volume dampers) | 23 80 00 | Decentralized HVAC Equipment
| Air outlets and inlets (diffusers, grilles, etc.) |  | Convection heating and cooling units
| Air plenums and chases |  | Humidity control equipment
| Air terminal units |  | Packaged units
| Ducts and casings |  | Radiant heating units
| Fans (exhaust and return) |  | Temperature Control Systems
| Special exhaust systems |  | Insulation
| Ventilation hoods |  | Duct and piping
23 40 00 | HVAC Air Cleaning Device |  | Water heaters
| Electronic air cleaners |  | Piping
| Gas-phase air filtration |  | Air chambers
| Particulate air filtration |  | Concrete encasement
23 50 00 | Central Heating Equipment |  | Escutcheons
| Breechings, chimneys, and stacks |  | Expansion joints
| Feedwater pumps and deaerators |  | Excavation for piping
| Fuel-fired heaters |  | Fittings
| Heat exchangers for HVAC |  | Hangers
| Heating boilers or furnaces |  | Shock absorbers